EYEWASH SAFETY CHECKLIST – STORES

Company:   ____________________________________

Department / Zone:   __________________________

Location of eyewash station:   _________________

Inspector name:   ______________________________

Date of inspection:   __________________________

| SN | Description | compliant | Non-Compliant | Corrective Action Required |
| --- | --- | --- | --- | --- |
| 1 | Access – Path to station clear (no obstacles, pallets, equipment). |  |  |  |
| 2 | Lighting – Area well‑lit, emergency light functional if equipped |  |  |  |
| 3 | Signage – Highly visible sign (dark yellow/green with ISO 7010 pictogram). |  |  |  |
| 4 | Shut‑off valve – No leaks, no corrosion, handles easily. |  |  |  |
| 5 | Nozzle covers – Present, intact, clean, not yellowed or brittle. |  |  |  |
| 6 | Bowl / basin – Clean, no debris, no scratches. |  |  |  |
| 7 | Protective covers – Closed (if unit is plumbed‑in). |  |  |  |
| 8 | No hazardous chemicals stored directly next to unit |  |  |  |
| 9 | Water clarity – Clear, no rust, no particles. |  |  |  |
| 10 | Flow rate (quick check) – Visually strong, steady flow |  |  |  |